## Slide 1: Axion Dark Matter Search at IBS/CAPP
New Physics with Exotic and Long-Lived Particles
A Joint ICISE-CBPF Workshop
01−06 July 2019 ICISE, Quy Nhon, Vietnam
SungWoo YOUN
Center for Axion and Precision Physics Research (CAPP)
Institute for Basic Science (IBS)

## Slide 2: Outline
Axion
  Dark matter ?
Detection principle
  Experimental parameters
Axion research at IBS/CAPP
  Facilities and equipment
  R&D effort
  (Multiple) experiments
  Projected sensitivities
Summary

## Slide 3: Strong CP problem
QCD vacuum structure adds an extra terms to LQCD
  Violates CP symmetry proportionally to θ
  Not predictable by theory, must be measured
CP-violation term induces charge separation
  Neutron electric dipole moment (nEDM)
  Experimental value is very tiny
    dn < 10−26 ecm => θ < 10−10
  Theoretically, θ = 0 if a quark is massless (X)
Strong CP problem
  Naturalness problem (0 < θthe < 2π vs. θexp ~ 0)

## Slide 4: PQ mechanism and axion
Peccei & Quinn (1977)
  New global symmetry UPQ(1) with a scalar a(x)
  Spontaneously broken at an energy scale fa
  Induces a potential for a(x) with minimum at a(x) = θ×fa
  Dynamic solution to the strong CP problem
Wilczek & Weinberg (1978)
  Pseudoscalar Goldstone boson => Axion
  Axion mass depends on symmetry breaking scale fa
    For fa of the order of the EW scale => ma ~ 100 keV (PQWW axion excluded by collider experiments)
F. Wilczek &
S. Weinberg
R. Peccei & H. Quinn

## Slide 5: Invisible axion
J.E. Kim (1979)
  Proposed a very light axion with a very large fa (in early universe)
  Spanned axion mass by many orders of magnitude
J. E. Kim
Axion mass
Energy scale
Axion interactions
  Quarks, gluons, photons, leptons,…
  Model dependent on PQ charge assignment
    KSVZ – Heavy quark (ex. gγ = −0.97)
    DFSZ – Higgs doublet (ex. gγ = 0.36)

## Slide 6: Axion dark matter
Cosmic axion (1983)
  Very light axions would be overproduced in early universe
    fa < 1012 GeV (ma > 10−6 eV) is excluded
  Axion may account for dark matter
    10−6 eV < ma < 10−3 eV
Dark matter axion ?

## Slide 7: Detection principle
Coupling with photons
  Primakoff effect
  Energetic photons + EM of nuclei
  => pseudoscalar
Conversion of axions to photons in a magnetic field (1983)
  Axions “borrow” virtual photons from the magnetic field to turn into real photons
  Principle of axion search experiments
P. Sikivie
Magnet
B
ϒ*
ϒ
a
Classical EM field
Sea of
virtual photons
Primakoff effect

## Slide 8: Main approaches
Haloscope
  DM axions in our galactic halo
  Microwave resonators
  ADMX, HASTAC, CULTASK,…
Helioscope
  Solar axions
  Emitted by the solar core
  CAST, IAXO,…
Photon regeneration
  Light Shining through Wall
  Axions at the lab
  ALPS,…

## Slide 9: Axion parameter space
1 μeV ≈ 0.24 GHz

## Slide 10: Physical Quantities
Conversion power (a→γγ)
Signal-to-noise ratio (SNR)
Scan rate (F.O.M.)
Cavity Q factor
Axion Q factor
Coupling constant
Axion number density
Magnetic field
Effective volume
System noise temperature
Axion bandwidth (~10−6 f)
Integration time
- theoretical parameters
- experimental parameters
gaγγ,ρa,ma,Qa
γ
Strong B0
Cavity QL,V,C

## Slide 11: Haloscope in a Nutshell
Enhancing the scan rate
High field HTS Magnet B
Axion-photon conversion
(Sikivie effect)
Cryogenics T
Tunable High Q resonator
V, Q, C, Δf
Quantum noise limited amplifier T
RF readout chain
Boosting a→γγ conversion rate
Signal amplification w/ minimal noise added
Lowering thermal noise
Resonant frequency tuning

## Slide 12: IBS/CAPP
Center for Axion and Precision Physics Research
  A research center of the Institute for Basic Science
  Established in Oct. 2013 at KAIST, Daejeon, South Korea
Organization
  20 researchers / 20 students / 10 staffs
  Visiting scholars
Mission
  Axion physics
    CULTASK
    CAST-CAPP
    GNOME / ARIADNE
  Precision physics
    pEDM / g-2 experiments / COMET

## Slide 13: CAPP in Oct. 2013

## Slide 14: CAPP in Jan. 2017

## Slide 15: CAPP in Oct. 2018

## Slide 16: Major equipment
Manufacture | Model | TB [mK] | Cool. Power [μW@mK] | Install-ation
BlueFors (BF3) | LD400 | 10 | 18 @ 20 580 @ 100 | 2016
BlueFors (BF4) | LD400 | 10 | 18 @ 20 580 @ 100 | 2016
Janis | HE-3-SSV | 300 | 25 @ 300 | 2016
BlueFors (BF5) | LD400 | 10 | 18 @ 20 580 @ 100 | 2017
BlueFors (BF6) | LD400 | 10 | 18 @ 20 580 @ 100 | 2017
Oxford | Kelvinox | 30 | 400 @ 120 | 2017
Leiden | DRS1000 | 10 | 1000 @100 | 2019
Refrigerators
Magnets
Manufacture | Bmax [T] | Bore [mm] | Delivery
Cryo Magnetics | 9 | 125 | 2016
AMI | 8 | 125 | 2017
AMI | 8 | 165 | 2017
SuNAM | 18 | 70 | 2017
Oxford | 12 | 320 | 2019
IBS/BNL | 25 | 100 | 2022
Notes: Start, describe, discuss, make a few wards

## Slide 17: High field magnet
25 T / 100 mm
Bmax (z=0) @ 4 K | 25 T
Uniformity | 90% (± 100 mm)
Bore (clear) | 100 mm
# of D.P. | 14
Type | No Insulation
Current | 450 A
Stored energy | 1.3 MJ
Stress | < 684 MPa
Delivery | 2020
SC material | HTS (ReBCO)
Width | 12 mm
Thickness | 75 μm
Current Density | 500 A/mm2
Conductor / S.P. | 303 m
Total conductor | 8.5 km
Winning game !

## Slide 18: Lager bore magnet
12 T / 320 mm
  Large aperture with a strong field
  Sensitive to low mass axions
  Cavity volume ~ 40 liters
  Installed in a DR (Leiden, 10 mK)
Will allow for DFSZ physics
  0.7 < fa < 3.0 GHz within 5 years
Manufacturer | Oxford
Bmax (z=0) @ 4 K | 12 T
Bore (clear) | 320 mm
SC material | LTS (Nb3Sn)
Delivery | 2019. 12
Notes: Start, describe, discuss, make a few wards

## Slide 19: SQUID amplifier
Superconducting Quantum Interference Device
  Most sensitive magnetic sensor
  Josephson effect and flux quantization
  Quantum limited noise: TSQL ≈ 50 mK × f [GHz]
Two types of SQUID-based amplifiers
  Microstrip SQUID Amplifier (MSA)
  Josephson Parametric Amplifier (JPA)
Developing units for our application from various resources
RFIN
RFOUT
Working Point: IW and ФDC
  RF input signal couples with a SQUID via Lm and modulated

## Slide 20: Josephson Parametric Amplifier
Critical component
Collaboration w/ RCAST (Tokyo)
  Chips for 2.3, 4.0, 6.9 GHz
Reasonable G and TN
  G > 15 dB
  TN < 300 mK (cf. HEMT ~ 2 K)
  Lots of room for improvement
    TSQL ≈ 50 mK × f [GHz]
Gain [dB] vs. freq [GHz]
PD [W/Hz] vs. temp [K]

## Slide 21: Superconducting cavity
Type II SC
High-Tc / high-Hc SC materials
YBCO HTSC tapes
Commercially available (AMSC)
RABiTS method
Bi-axially textured film (grains well aligned) for low Rs
Implementation in 3D structure

## Slide 22: Superconducting cavity
Attaching SC tapes on inner surface
Polygon-shaped cavity - 12 pieces
arXiv:1904.05111

## Slide 23: High frequency approach
Larger volume
  Higher sensitivity
    2 times better than multiple-cavity
Single antenna
  Easier experimental setup
    cf) N antennae for N-cavity systems
Easier phase-matching mechanism
Experimental demonstration
  Stability and negligible dead time
Multiple small cavities
Single large cavity
Multiple cells
in a single cavity
Multiple cells
w/ a hole
: Magnet bore
: Cavity
Pizza cavity
Notes: Start, describe, discuss, make a few wards

## Slide 24: CAPP experiments
Manufacture | Model | TB [mK]
BlueFors (BF3) | LD400 | 10
BlueFors (BF4) | LD400 | 10
Janis | HE-3-SSV | 300
BlueFors (BF5) | LD400 | 10
BlueFors (BF6) | LD400 | 10
Oxford | Kelvinox | 30
Leiden | DRS1000 | 10
Oxford | Kelvinox | 30
Refrigerators
Magnets
Manufacture | Bmax [T] | Bore [mm]
Cryo Magnetics | 9 | 125
AMI | 8 | 125
AMI | 8 | 165
SuNAM | 18 | 70
Oxford | 12 | 320
IBS/BNL | 25 | 100
Name |  | 
CAPP-9T MC |  | 
CAPP-8T (PACE) |  | 
CAPP-8TB |  | 
CAPP-18T |  | 
CAPP-12TB |  | 
CAPP-25T |  | 
Operating parallel experiments
targeting at different mass ranges!
Experiments
Notes: Start, describe, discuss, make a few wards

## Slide 25: CAPP-PACE
Pilot Axion Cavity Experiment
  8 T / 125 mm magnet
  DAQ mode since Jan. 2018
  Currently targeting at KSVZ
  JPA near future
Parameter | Value
Δf | 2.45 – 2.76 GHz
Bmax | 8 T
Tphy | < 50 mK
Tamp | 1 - 1.5 K
Vcav | 1.1 litter
Q0 | 120,000
C010 | 0.55
JINST 12 (2017) no.10, P10023
Q0
Split cavity

## Slide 26: CAPP-PACE
First result by CAPP
JPA (~200 mK) will make a significant improvement!
Preliminary

## Slide 27: CAPP-8TB
Utilizing a 8 T Big bore magnet
Frequency map
TN < 2 K
G ~ 33 dB
Preliminary
Preliminary
Preliminary
Gain
Noise temperature
Bmax (Bavg) | 8 T (7.3 T)
Magnet bore | 165 mm
Vcav | 3.5 L
Q0 | > 100,000
Tphy | ~40 mK
Target search region | 1.6~1.7 GHz (6.6 ~7.0 μeV)
Notes: Start, describe, discuss, make a few wards

## Slide 28: CAPP-8TB
Two stage experiment
  1st stage: w/ HEMT-based amplifier (~3 months of operation)
    Touching the QCD axion band
  2nd stage: w/ SQUID/JPA-based amplifier
    Achieving the KSVZ sensitivity
Notes: Start, describe, discuss, make a few wards

## Slide 29: CAPP-9T MC
Cu 2-cell cavity
I.D. = 110 mm
I.H. = 220 mm
Q0 ~ 60,000
Charcoal sorption pump
1K pot
He-3 pot
HEMT amps
TN: 1~2 K
Linear actuator
Frequency
tuning rotator
(single)
JANIS He-3 system
w/ 9T magnet
Amps ~ 4.9 K
Charcoal ~ 36.0 K
1K plate ~ 2.0 K
He-3 plate ~ 1.7 K
Cavity ~ 1.8 K
Test operation confirmed the desired specifications
Operation in continuous mode
  Condens. = Evapor.
  Tphysical < 2 K
Re-liquefier installed
  80 L/day => No LHe loss
Proof-of-concept experiment for pizza cavity design (He-3 fridge w/ 9T SC)

## Slide 30: CAPP-9T MC
Year | 2019 |  |  |  | 2020 |  |  | 
Quarter | 1 | 2 | 3 | 4 | 1 | 2 | 3 | 4
Double-cell |  |  |  |  |  |  |  | 
Quad-cell |  |  |  |  |  |  |  | 
Octuple-cell |  |  |  |  |  |  |  | 
 | 2-cell | 4-cell | 8-cell
Geometry |  |  | 
F010 [GHz] | [2.8,3.3] | [3.8,4.5] | [5.8,7.0]
Bavg [T] | 7.8 |  | 
V [L] | 2.0 | 1.9 | 1.7
Psig [10−21 W] | 0.51 | 0.56 | 0.68
Tsys [K] | 2.0+2.0 | 2.0+3.0 | 2.0+4.0
SNR | 5 |  | 
DAQ efficiency | 0.5 |  | 
df/dt [GHz/year] (KSVZ×10) | 5.4 | 4.8 | 5.0
Scan time (month) | 1.1 | 1.8 | 2.9
Experimental parameters
Timeline

## Slide 31: CAPP-18T
SuNAM Co.
GdBCO HTS
Bmax = 18 T
I.D. = 70 mm
No-insulation
Uniformity: 93% (±100 mm)
Stability: <0.05% for 2 weeks
Frequency map
JPC from QCI
Magnet test
3.6~4.2 GHz at KSVZ

## Slide 32: Projected sensitivity – 2 year
CAPP-8TB
CAPP-PACE
CAPP-18T
CAP-9T MC
CAPP Projected Sensitivity
Notes: Start, describe, discuss, make a few wards

## Slide 33: Projected sensitivity – beyond
12 T / 320 mm
25 T / 100 mm
CAPP Projected Sensitivity
+
+
Notes: Start, describe, discuss, make a few wards

## Slide 34: Summary
Axion is a dynamic solution to the strong CP problem
  Well-motivated dark matter candidate
Detection scheme relies on Sikivie effect
IBS/CAPP is searching for galactic halo axions
Major R&D focuses
  High field / large volume magnets
  Development of quantum noise limited amplifiers
  Cavity design for higher masses
Parallel experiments are on going
  Targeting at different mass ranges
Probing a large mass range (< 40 μeV) with sensitivity of the QCD axion in five years